## Assumptions
India Data Center 24/7 Renewable Energy Matching Model — Model Assumptions
Canonical parameters, regulatory references, and technical multipliers
Parameter | Value | Unit | Source / Regulatory Reference | Notes
Annual Operating Hours | 8760 | hours/year | Standard Calendar Year | Base continuous 24/7 calendar hours
Data Center Utilization Factor | 0.65 | ratio (65%) | Industry Standard IT/Facility Load Factor | Accounts for server idling, redundancy headroom, and realistic facility power draw
Unified National Grid Emission Factor | 0.716 | tCO2/MWh | CEA CO2 Baseline Database (Ver 19.0/20.0) | National Weighted Average for synchronous grid
Western Region Operating Margin Proxy | 0.82 | tCO2/MWh | CEA CO2 Baseline Database (Ver 19.0/20.0) | Sensitivity proxy for Western Region (MH/GJ)
Northern Region Operating Margin Proxy | 0.785 | tCO2/MWh | CEA CO2 Baseline Database (Ver 19.0/20.0) | Sensitivity proxy for Northern Region (UP/NCR)
Eastern Region Operating Margin Proxy | 0.89 | tCO2/MWh | CEA CO2 Baseline Database (Ver 19.0/20.0) | Sensitivity proxy for Eastern Region (WB/Kolkata)
Blended RE Solar Weight | 0.6 | ratio (60%) | Standard Solar-Wind Hybrid PPA Ratio | Weight applied to Solar CF when wind is viable
Blended RE Wind Weight | 0.4 | ratio (40%) | Standard Solar-Wind Hybrid PPA Ratio | Weight applied to Wind CF when wind is viable
Jamnagar Conservative Wind CF | 0.24 | ratio (24.0%) | GERC Historical Siting Filings | Conservative coastal Gujarat empirical baseline
Jamnagar Claimed Regional Wind CF | 0.32 | ratio (32.0%) | NIWE 120m/150m Resource Atlas (Kutch Corridor) | Claimed regional macro-corridor upside (unverified at site)

## Demand_Supply_Model
Data Center Electricity Demand, RE Resource Supply & 24/7 Matching Model (9 Clusters)
Methodology: Demand = MW * 8760 * 0.65; Blended RE = Solar*0.6 + Wind*0.4 (or 100% Solar where Wind is Not Viable)
Cluster | State | Total Low MW | Total High MW | Demand GWh (Low) | Demand GWh (High) | Grid EF (tCO2/MWh) | BAU Grid RE Share (%) | Solar CF (%) | Wind CF Conservative (%) | Wind CF Claimed (%) | Blended RE Match Cons (%) | Blended RE Match Claimed (%) | 24/7 RE Match Gap Cons (%) | 24/7 RE Match Gap Claimed (%) | CO2 Avoided Low Cons (t/yr) | CO2 Avoided High Cons (t/yr) | CO2 Avoided Low Claimed (t/yr) | CO2 Avoided High Claimed (t/yr) | BESS Tariff Signal | Confidence & Sourcing Status
Mumbai/Navi Mumbai | Maharashtra | 766.6 | 2316.6 |  |  | 0.716 | 36.8% | 20.8% | 24% | 24% | [8 empty] | ₹2.38–2.40 L/MW/mo (MSEDCL) | High (Tier 2 Reports / Statutory RE)
Chennai | Tamil Nadu | 191.5 | 706.5 |  |  | 0.716 | 53.2% | 21% | 31.5% | 31.5% | [8 empty] | ₹3.15–3.16 L/MW/mo (TNGECL) | High (Subsea Landing Hub / Statutory RE)
Hyderabad | Telangana | 151.4 | 751.4 |  |  | 0.716 | 34.5% | 21.5% | 19% | 19% | [8 empty] | ₹3.04–3.75 L/MW/mo (SECI ISTS) | High (DISCOM & AI Roadmap Filings)
Pune | Maharashtra | 45 | 145 |  |  | 0.716 | 36.8% | 20.8% | 24% | 24% | [8 empty] | ₹2.38–2.40 L/MW/mo (MSEDCL) | Medium (Colocation Hub / State Mix)
Delhi-NCR/Noida | Uttar Pradesh | 153 | 353 |  |  | 0.716 | 22.4% | 19.5% | 0% | 0% | [8 empty] | ₹3.04–3.75 L/MW/mo (SECI ISTS) | High (Yotta D2 / Bundelkhand Solar)
Bengaluru | Karnataka | 107.1 | 257.1 |  |  | 0.716 | 61.2% | 22.5% | 28% | 28% | [8 empty] | ₹2.49–2.54 L/MW/mo (KPTCL) | Medium (State-level RE Proxy / Pavagada)
Vizag | Andhra Pradesh | 1000 | 1000 |  |  | 0.716 | 44.1% | 22% | 27% | 27% | [8 empty] | ₹2.80–3.20 L/MW/mo (APGECL) | High (AdaniConneX 1 GW AI Campus)
Kolkata | West Bengal | 42.4 | 67.4 |  |  | 0.716 | 13.8% | 18.2% | 0% | 0% | [8 empty] | ₹3.04–3.75 L/MW/mo (SECI ISTS) | Medium (Facility Sum / Low Non-Fossil)
Jamnagar | Gujarat | 1000 | 3000 |  |  | 0.716 | 57.4% | 23% | 24% | 32% | [8 empty] | ₹2.10–2.32 L/MW/mo (GUVNL) | Tiered (Meta 168MW Verified; 1GW Ph1; 3GW Master Plan; Wind 24% Cons/32% Claimed)
Total National (All 9 Clusters) | India Synchronous Grid |  |  |  |  | 0.716 | [12 empty] | National BESS Portfolio | Headline finding: 75-82% RE-matching gap across clusters

## Slide_Ready_Summary
Data Center 24/7 Renewable Energy & Decarbonization Roadmap — Slide-Ready Summary
Executive deck summary: Un-stored dedicated RE buildout leaves a 75–82% matching gap across all clusters
Cluster | Demand Today (GWh/yr - Low) | Demand Future (GWh/yr - High) | Current Grid RE Share (%) | RE Matched Under Framework (%) | 24/7 RE Matching Gap (%) | CO2 Avoided Today (Tonnes/yr) | CO2 Avoided Future (Tonnes/yr) | One-Line Confidence & Sourcing Note
Mumbai/Navi Mumbai | [7 empty] | 77.9% matching gap; dedicated RE buildout CF (22.1%) is below Maharashtra grid mix (36.8%), yielding 0 avoided CO2 without storage.
Chennai | [7 empty] | 74.8% matching gap; top coastal wind corridor (31.5% CF) yields 25.2% blended match, below TN grid baseline (53.2%).
Hyderabad | [7 empty] | 79.5% matching gap; un-stored solar+wind achieves 20.5% match vs 34.5% Telangana grid mix; requires BESS or interstate imports.
Pune | [7 empty] | 77.9% matching gap; secondary colocation cluster; benefits from Satara ridge wind but cannot match 24/7 load without storage.
Delhi-NCR/Noida | [7 empty] | 80.5% matching gap; zero local wind viability (<100 W/m²); 19.5% solar-only match is below UP grid mix (22.4%).
Bengaluru | [7 empty] | 75.3% matching gap; state grid has India's highest RE share (61.2%); peri-urban relocation solves urban water crisis rather than grid mix.
Vizag | [7 empty] | 76.0% matching gap; 1 GW Google/AdaniConneX hub backed by 24.0% blended solar-wind resource, below 44.1% AP state grid.
Kolkata | [7 empty] | 81.8% matching gap; only cluster where dedicated RE (18.2%) beats low coal grid (13.8%), avoiding 7.6k–12.1k t CO2/yr.
Jamnagar | [7 empty] | 76.6% matching gap (conservative 24% wind CF yields 23.4% match; claimed 32% wind gives 26.6% match / 73.4% gap); captive giga-complex.
Total National Impact (9 Clusters) | [7 empty] | National headline: Un-stored dedicated RE leaves an average 77.8% 24/7 matching gap across India.